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[bookmark: _Hlk172146141]Gaya College of Engineering, Gaya  
Bihar 
Under the
Department of Science, Technology and Technical Education  
Government of Bihar
	


Contents	
1	Abbreviations and Definitions
2	Notice Inviting Tenders
3	Instruction to Bidders
4	Tendering Expense
5	Right to Accept Any Offer and to Reject Any or All Offers
6	Language of the tender
7	Taxes
8	Concessions permissible under statutes
9	Amendments to Tender Documents
10	Pre-Bid Meeting
11	Earnest Money Deposit (EMD)
12	Bid Validity
13	Duration
14	Eligibility & Evaluation Criteria
15	Technical Evaluation criteria
16	Financial Evaluation
17	Scope of Work:
18	Bill of Quantity
19	Warranty Services
20	Documentation
21	Payment Schedule:
22	Penalty
23	Indemnity
24	Termination, Dispute Resolution & Other
24.1.	Termination of Contract
24.2.	Force Majeure
24.3.	Notices
24.4.	Resolution of Disputes
24.5.	Applicable Law
	ANNEXURE-1 Technical Data Sheet
	ANNEXURE-2 Fianancail Bid Formate 
	ANNEXURE-3 Declaration by the bidder for Not Being Blacklist / Debarred



1. [bookmark: _Toc515038548][bookmark: _Toc110423784]Abbreviations and Definitions
	Abbreviations  
	Descriptions  

	DSTTE
	Department of Science, Technology and Technical Education 

	DSC  
	Digital Signature Certificate  

	EMD  
	Earnest Money Deposit  

	FAT
	Final Acceptance Test

	GST  
	Goods & Service Tax  

	INR  
	Indian Rupees  

	LOI  
	Letter of Intent  

	NIT  
	Notice Inviting e-Tender  

	PBG  
	Performance Bank Guarantee  

	PAN  
	Permanent Account Number  

	PSU  
	Public Sector Undertaking  

	SLA  
	Service Level Agreement  

	UOM
	Unit of Measures 



2. [bookmark: _Toc176091530]Notice Inviting Tenders
1. Gaya College of Engineering, Gaya has been constituted under the Department of Science, Technology and Technical Education, Government of Bihar to cater to the needs of technical education. The  Gaya College of Engineering, Gaya  intendent to invite bids from eligible entities supply of Machines and laboratory Equipment’s for Engineering in the institute Premises as mentioned in the tender document.

2. The contract will be signed between Gaya College of Engineering, Gaya and the successful agency/bidder.

3. To participate in the e-tendering process, the bidder/agency are required to get themselves registered with eproc2.bihar.gov.in. 

4. Schedule of Events: 
	Sn.
	Event Description
	Timeline

	4.1
	Last date & time of downloading the RFP
	Till 28/08/2026 up to 11.00 AM, oneproc2.bihar.gov.in

	4.2
	Pre-bid meeting 
	17/08/2026 at 11:30 AM

	4.3
	Submission (upload) of online bidding document.
	[bookmark: _Hlk175226193]28/08/2026 till 11:00AM, on eproc2.bihar.gov.in

	4.4
	Submission of EMD 
	Online at eproc-2 by 28/08/2026 till 11.00 AM in favour of “Principal, Gaya College of Engineering Gaya ”

	4.5
	Opening of Technical Bid
	01/09/2026 at 11.10 AM on the eproc2.bihar.gov.in

	4.6
	Opening of Financial Bid
	After Evaluation of Technical Bid on eproc2.bihar.gov.in

	4.7
	Pre- bid meeting venue 
	Gaya College of Engineering, Gaya Bihar 

	4.8
	Contact person 
	Prof. Manoj Kumar (Contact No. 7488170459)

	4.9
	Method of Selection 
	Least Cost Selection (LCS) quoted among technically qualified bidder/agency



Note
 i.) Interested bidders may obtain further information about this Notice Inviting Tender (NIT) from the office of Gaya College of Engineering, Gaya 
ii) No tender will be accepted after closing date and time in any circumstances. 

5. Bidder may also download the tender document available from eproc2.bihar.gov.inand submit the tender by using the downloaded document.

6. The Gaya College of Engineering, Gaya   select the bidder based on Least Cost Selection(LCS) method for supply of Machines and laboratory Equipment’s in the Institute Premises.
7. The tender shall be accompanied by Earnest Money Deposit (EMD) of 150000/- (One Lakh Fifty Thousand Rupees only)  in favour of Principal, Gaya College of Engineering, Gaya  through online mode in eproc-2.
8. The technical and financial bids must be submitted through eproc2.bihar.gov.in before the date and time specified in the tender document. The Gaya College of Engineering, Gaya  doesn’t take any responsibility for the delay / Non-Submission of Tender / Non-Reconciliation of online Payment caused due to Non-availability of Internet Connection, Network Traffic/ Holidays, or any other reason.
9. The bidders shall submit their eligibility and qualification details, Certificates as mentioned in the tender document, in the online standard formats given in eproc2.bihar.gov.in at the respective stage(s) only.
10. The bidders shall upload the scanned copies of all the relevant certificates, documents etc., in support of their eligibility criteria / technical bids and other certificate /documents in the eproc2.bihar.gov.in.

11. The bids must be uploaded (e-mode/online) at the eproc2.bihar.gov.in.

12. All prospective bidders may attend the Pre-Bid meeting. The venue, date and time are indicated in Schedule of Events as in above section4.

13. The Earnest Money should be deposited on or before the closing date & time indicated above in the Gaya College of Engineering, Gaya failing which the tenders will be treated as late tender and would be summarily rejected. Proof of the same shall be uploaded on the eproc2.bihar.gov.induring the bid submission. 

14. In the event of any of the above-mentioned dates being declared as a holiday/ closed day for the Gaya College of Engineering, Gaya  the tenders/EMD will be opened/received on the next working day at the scheduled time.

15. Gaya College of Engineering, Gaya reserves the right to accept or reject any or all tender or change the terms and condition of NIT or cancel the NIT without assigning any reasons at any stage and time.

16. For further enquiry and information, contact the following officer during office hours 10:00 AM to 05:00 PM- Contact No.- 7488170459
17. All further notifications/Corrigendum/Addendum if any shall be posted on eproc2.bihar.gov.in.
18. When reading this document if you identify any errors or omissions, please advise Gaya College of Engineering, Gaya in writing, in 5 calendar days, giving a brief description of the problem, its location within document and your contact details.

Confidentiality
This document contains privileged and confidential information pertaining to the “supply of Machines and laboratory Equipment’s for the Institute Premises” at Gaya College of Engineering, Gaya. The access level for the document is specified above. The addressee should honour access rights by preventing intentional or accidental access outside access scope.


Principal
Gaya College of Engineering Gaya  
3. [bookmark: _Toc176091531]Instruction to Bidders
a. The bidder shall submit his bid/tender oneproc2.bihar.gov.in.
b. The bidder may use their Digital Signature Certificate (DSC) if they already have. They can also take Digital Signature Certificate (DSC) from any of the authorized agencies. 
c. For user-id they must get registered themselves on eproc2.bihar.gov.inand submit their bids online. Offline bids shall not be entertained by the Tender Inviting Authority (TIA).
d. Bids not submitted, as per the above Performa / Instructions mentioned in this RFP document, will be summarily rejected.  
e. The bidders shall submit their eligibility and qualification details, technical bid, financial bid, etc., in the online standard formats given on eproc2.bihar.gov.in.
f. The bidders shall upload the scanned copies of all the relevant certificates, documents etc. with indexing and paging, in support of their eligibility criteria / technical bids and other certificates /documents on the eproc2.bihar.gov.in.
g. The bidder shall digitally sign the supporting statements, documents, certificates, uploaded by him, owning responsibility for their correctness/authenticity. The bidder shall attach all the required documents for the specific tender after uploading the same during the bid submission as per the tender notice and bid document.
h. The rate quoted by the bidder shall remain same throughout the contract period including any extension thereon. No increment in rates would be permitted in any circumstances.   
i. The Bidder is obliged to work closely with Gaya College of Engineering, Gaya , act within its own authority and abide by directives issued by Gaya College of Engineering, Gaya  from time to time.
j. All the required documents should be attached at the proper place and with proper nomenclature (as mentioned in the e-forms) otherwise the tender of the bidder will be rejected.
k. The bid (technical and financial details of the bidder) shall be submitted on or before the last date of submission in online mode only. Tenders submitted after the stipulated date & time (closing date and time for uploading the tender and submission of EMD as mentioned in Clause 4, Notice Inviting Tender (NIT)) shall not be considered and would summarily be rejected.
l. The decision of Gaya College of Engineering, Gaya  in regard to interpretation of the Terms & Conditions and the Agreement shall be final and binding on the bidder.   
m. In case of any disputes on execution of the work during the period of contract, the decision of the principal, Gaya College of Engineering, Gaya  shall be binding and final, agreeable in full by both the parties. Any legal disputes shall be subject to Bihar jurisdiction.  
n. Any change/corrigendum/extension of closing/ opening dates in respect of this RFP shall be issued through website only and no press notification will be issued in this regard. Bidders are therefore requested to regularly visit eproc2.bihar.gov.inwebsite for updates.  
o. All available technical literature, catalogues, and other data in support of the specifications and details of the items should be furnished along with the offer.
p. Samples of any product, if called for, should be submitted free of all charges by the tenderer and Purchaser shall not be responsible for any loss or damage thereof due to any reason whatsoever. In the event of non-acceptance of tender, the tenderer will have to remove the samples at his own expenses.
q. Equipment’s offered should strictly conform to the specifications. The tenderer should also indicate the Make/Type number of the equipment’s offered and provide catalogues, technical literature, and sample, whatever necessary along with the quotation. Test certificates wherever necessary should be forwarded along with supplies. 
r. The bidder will be liable to replace if any hardware faulty during the contract period without any extra cost during the warranty period.
s. The bidder has to arrange necessary insurance coverage to the workmen/machines/equipment’s etc deployed by him and shall arrange necessary safety measures before starting the work.


4. [bookmark: _Toc176091532]Tendering Expense
The bidder shall bear all costs and expenditure incurred and/or to be incurred by it in connection with its tender including preparation, mailing and submission of its tender and subsequently processing the same. The Gaya College of Engineering, Gaya  shall in no case be responsible or liable for any such cost, expenditure etc. regardless of the conduct or outcome of the tendering process.
5. [bookmark: _Toc176091533]Right to Accept Any Offer and to Reject Any or All Offers
Gaya College of Engineering, Gaya  reserves the right to accept or reject any tender offer, and to terminate the tendering process and reject all tenders at any time prior to award of contract, without thereby incurring any liability to the affected vendor(s) or any obligation to inform the affected vendor(s) of the grounds for such action.   

6. [bookmark: _Toc176091534]Language of the tender
The tender submitted by the bidder and documents relating to the tender shall be written in the English language only. 
7. [bookmark: _Toc176091535]Taxes
The Bidders shall fully familiarize themselves about the applicable domestic taxes (such as GST, income taxes, duties, fees, levies, etc.) on amounts payable by the Purchaser under the resultant Agreement. All such taxes with foundation creation (if required) must be included by Bidders in the financial proposal.   
8. [bookmark: _Toc176091536]Concessions permissible under statutes
Gaya College of Engineering, Gaya while quoting against this tender, must take cognizance of all concessions permissible, if any, under the statutes and ensure the same is passed on to the Purchaser, failing which it will have to bear extra cost. In case Bidder does not avail concessional rates of levies like customs duty, excise duty, Cess etc. Gaya College of Engineering, Gaya  will not take responsibility towards this.    
9. [bookmark: _Toc176091537]Amendments to Tender Documents
At any time prior to the deadline for submission of tenders, the Gaya College of Engineering, Gaya  may, for any reason deemed fit by it, modify the tender document/s by issuing suitable amendment(s) to it. Such an amendment will be notified on eproc2.bihar.gov.in website and the same shall be binding to all prospective bidders. Gaya College of Engineering, Gaya  will not issue any separate communication in this regard. 

10. [bookmark: _Toc176091538]Pre-Bid Meeting
To provide response to any doubt regarding terms and conditions, scope of work and any other matter given in the tender document, a pre-bid meeting has been scheduled to be held in the office of Gaya College of Engineering, Gaya  or an online meeting may be scheduled. The clarification sought by representative of prospective bidders shall be responded appropriately. However, they shall clarify and will be asked to submit their written request by close of office next working day. The Gaya College of Engineering, Gaya  shall upload written response on the eproc2.bihar.gov.in website to such requests for clarifications, without identifying its source. In case required, amendments issued, shall be binding on all prospective bidders. Further, the issue raised having been clarified shall be final. Bidders are advised to visit theeproc2.bihar.gov.in website regularly for any updates/ corrigendum/ amendments etc. 


11. [bookmark: _Toc176091539]Earnest Money Deposit (EMD)
1. The Tender shall be accompanied by Earnest Money Deposit (EMD) of 150000/- (One Lakh  Fifty Thousand Rupees only)  in favour of “Principal, Gaya College of Engineering, Gaya” must be submitted online at eproc-2, as per the terms and condition mentioned in the documents. EMD Should not have been issued on a date latter than the last date for submission of bidding document ie., 28/08/2026 till 11.00 AM.
1. The EMD of unsuccessful bidder will be returned to them without any interest, after execution of the contract. The EMD of the successful bidder will be returned without any interest, after receipt of performance security as per the terms of contract.
1. The EMD shall be forfeited by Gaya College of Engineering, Gaya   hereunder or otherwise, under the following conditions:
0. If a bidder engages in a corrupt practice, fraudulent practice, coercive practice, undesirable practice, or restrictive practice.
0. If a bidder withdraws its bid during the period of bid validity as specified in this Tender and as extended by the Gaya College of Engineering, Gaya   from time to time.
12. [bookmark: _Toc176091540]Bid Validity
The submitted bids shall remain valid for a period of 180 days after the date of submission. 

13. [bookmark: _Toc176091541][bookmark: _Toc158637953]Duration
The contract, if awarded, shall be valid for a period of one year from the date of award. In case of breach of contract or in the event of not fulfilling the minimum requirements/ statutory requirements, Gaya College of Engineering, Gaya   shall have the right at any time to terminate the contract forthwith in addition to forfeiting the Performance Security amount deposited by the bidder and initiating administrative actions for blacklisting, etc. 
14. [bookmark: _Toc176091542]Eligibility& Evaluation Criteria
This invitation is open to organisation who fulfil the eligibility & qualification criteria specified here under:-
1. The financial bid must include the cost of main machines, equipment’s and its accessories.
2. The rates should be quoted in figures as well as in words.
3. Bidder and OEMs must have record of supplying of same or similar machines in any State Government/ Central Government institution/department/ PSU or any recognized university for last 3 financial years. Minimum order values should be of 50 Lakhs.
4. The supplier will be responsible for three years of trouble-free operation of machines and equipment’s from the date of handling over of commissioned machines & equipment’s.

5. The supplier will provide three-year onsite warranty of machines & equipment’s and all other items. All associated consumables and spares of supplied machines & equipment’s during three years of warranty period will be provided by the supplier.

6. The supplier must have to give full specification s along with details of spare parts against the items quoted by them.
7. The supplier must have to ensure that the items supplied by them are fully covered with their specification submitted.
8. The bidder and OEM should have a positive net worth in last three financial years. Certificate from the Statutory Auditor/CA should be attached.
9. The technical bids will be opened before the purchase committee and after thorough verification of technical bids, the purchase committee will then prepare a detailed comparative statement in the light of terms & conditions laid down in the tender document and after full satisfaction of the purchased committee for the technical qualification the financial bids of the technically qualified tenders will be opened.

10. The successful & qualified Bidders/ OEM must have to give the letter of acceptance of order within five days by email from the date of placement of order by the Institute.

11. No interest will be payable on EMD amount deposited by the Bidders/OEM.
12. In case of any dispute, the legal jurisdictions will be at Gaya.
13. All tenders in which any of the prescribed conditions is not fulfilled or any condition is put forth by the Bidders/ OEM shall be summarily rejected.
14. Number of items may increase or decrease by the Institute.
15. Machines and other items will be delivered at Gaya College of Engineering, Gaya .
16. An undertaking from OEM on RS 100 stamp paper duly notarized that all product in specific Bid manufactured by OEM and he will be responsible after sales support

Additional Terms and conditions
1. The bidder/ OEM should have 3 years of experience in manufacturing such equipment in their manufacturing facility.

2. The bidder and OEM should have not been debarred/ blacklisted by any State Government/ Central Government institution/ department for any reason. An affidavit in this regard on stamp paper should be submitted by the bidder and OEM.

3. Copies of acknowledgement of GST returns for the latest quarter of Financial Year 2025-26 are to be submitted.

4. EMD in favour of “Principal, Gaya College of Engineering, GAYA should be submitted online at eproc-2 on and Before 28/08/2026 till 11.00 AM.

5. Bidder/ OEMs must produce a work order for a minimum amount of 50 lakhs. of which 80% payment must have been received.

6. Bidder/OEMs must provide the details (Name of OEM (Make) and Model Number) of all the equipment to be supplied by them. Bidder/ OEMs are also required to submit the OEM's product catalogue/ brochure indicating the specifications of offered equipment for technical suitability.

7. OEM Should have its own manufacturing facility & should enclose Original Photos Images of the Manufacturing Plant as proof of OEM.

8. Bidder/ OEM must have a Solvency Certificate of amount 80% of bid value issued by Scheduled Nationalize Bank. The same should be submitted along with the bid. The issue date should not be more than 6 month sold from the date of last day of submission of bid.

9. Copies of acknowledgement of Income tax returns for the Financial Year 2023-24, 2024-25, and 2025-26 are to be submitted.

10. Sample product/ online product tutorial of product can be demanded from during technical evaluation to ascertain quality & specification as per discretionary of Institute. Bidders/ OEM must provide sample within 10 days or online product within 2 days of demand otherwise bid may be rejected.

11. The OEM must submit MSME & NSIC Certificate, if applicable.

12. Factory License of OEM or any proof like Process of Manufacturing in the Factory and List of Plant & Machinery should be submitted by the bidder.

13. Payment will be released only after satisfactory delivery, installation, foundation (if required), demonstration and acceptance of goods at the Institute.



14. All bid submitted shall also include the following information or documents in the technical bid. 
I. The bidder must submit the copy of PAN Card. 
II. The bidder must submit copies of their GST registration certificate from the competent authority.

15. The bidder/OEM average annual turnover in India should be at least Rs. 10Cr (Ten Crores) for the last 3 Financial Years (FY-2023-24, FY2024-25 and FY2025-26). The same should be supported by Balance sheet audited by CA.
16. Bidder/OEM must have active service support and required to furnish contact details of Service Executive, details to be furnished on Bidder/ OEM letterhead.

17.  Bidder should submit valid ISO9001, ISO45001 and ISO 14001 certificate of OEM

18. OEM must have NABL Calibration Facility on Own or through its Sister Concern. Documents in support should be submitted with the bid.

19. Bidders who do not meet the criteria given above are subject to be disqualified, if they have made untrue or false representation in the forms, statements and attachments submitted in proof of the qualification requirement s or have are cord of poor performance, not properly completing the contract, inordinate delays incompletion or financial failure, any false declaration, etc.

20. All products should carry a three- year onsite warranty.

21. Details of Comprehensive Annual Maintenance Contract (CAMC) after the warranty period may be clearly mentioned in the Financial Bid Documents.

22. The prices must be inclusive of GST, packing, freight, unloading, installation & foundation etc.
23. Principal, Gaya College of Engineering, Gaya reserves the right to can cancel bid at any time without assigning any reasons thereof.

24. The bidder must provide the hard copies of detailed manuals/brochures with each item/ equipment.

25. In case of any conflict in term and condition, the ATC will be accepted. 


15. [bookmark: _Toc176091543]Technical Evaluation criteria
All documents to be provided as mentioned in Eligibility & Evaluation Criteria and additional terms and conditions.
Note: Bidders providing all documents as mentioned above in Eligibility & Evaluation Criteria and additional terms and conditions shall qualify for the financial evaluation.

16. [bookmark: _Toc176091544]Financial Evaluation
Financial bids shall be opened only for the vendors whose bids are found to be Technically fit/ substantially responsive and complying with minimum eligibility criteria. 

i) Gaya College of Engineering, Gaya  will open the financial bids of only Technically Qualified bidders as per eproc2.bihar.gov.in.

ii) Discrepancy in the financial bid, it will be dealt as per the following:
a. If there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail, and the total shall be corrected.
b. If there is a discrepancy between words and figures, the amount in words shall prevail.
iii) Of all the Financial Bids opened, the bidder whose financial bid is lowest (hereby referred to as L1 bidder) will be considered eligible and award of contract. 


17. [bookmark: _Toc176091545]Scope of Work:
Broad scope of work should be: 
· To supply all Lab equipments as per BOQ mentioned in the RFP.
· Ensuring adherence to the agreed Service Levels and Service Quality for each of the deliverables executed by them.  
· Ensure the delivery of equipment and installation of entire Lab Equipments at the institute within 8 weeks from the date of award of contract.  
· Provide Solution compliant with applicable guidelines provided by DST, Bihar.
· Provide appropriate training to the designated/nominated staffs of the institute. 
· Should carry necessary civil and related restoration work etc. 



18. [bookmark: _Toc176091546]Bill of Quantity
 
Chemistry Lab Equipments and other Items Glassware
	S.NO
	Name of the Equipment
	Specifications
	Quantity

	1
	Ostwalds Viscometer
	Comprises glass U-Tube with two bulbs, connected by a capillary tube. Borosilicate glass
	50

	2
	Stalagmometer
	Shape: Straight, Borosilicate glass
	50

	3
	Pipette Pump
	Plastic material, Capacity around 2-25 ml, Accurate pipetting and dispensing of liquids
	30

	4
	Fussion Tube (Pkt. Of 1 gross)
	Stnadard size
	2

	5
	Platinum wire (With glass tube)
	Platinum wire (With glass tube)
	10

	6
	Ion Exchanger (Deionizer)/U Tech Double bed deionizer
	Two PVC cylinders filled with cation and anion exchange resin, Flow rate 50 to 70 lit/hr
	2

	8
	Hot water bath
	Stainless Steel Water Bath for laboratory use, 230 V, with atleast 6 holes
	5

	9
	Glass Plates/Slides (packet)
	Plain, Ground edges, 76 x 26 x 1 (pack size mm)
	50

	10
	Dropping bottles with droper and rubber Teat
	Borosilicate glass, capacity 60 and 125 ml
	120

	11
	Capillary Tubes ( Fine) pkt.
	Glass Tube
 Size: 0. 30mm od to 10. 00mm od
	10

	12
	Glass Jar
	2000 mL, Tooled Naked Bottles,
	20

	13
	Funnel( Conical)
	Borosilicate , Diameter 75 mm
	120

	14
	Reflux Condenser
	Borosillicate; (Liebig Condensor); 300 mm jacket length, joint socket 14/19
	20

	15
	Measuring Cylinder (10 ML)
	10 ml, Borosilicate glass
	60

	16
	Measuring Cylinder (50 ML)
	50 ml, Borosilicate glass
	60

	17
	Measuring Cylinder (100 ML)
	100 Ml, Cylinders, Graduated, Single Metric Scale, with Pour out, with Hexagonal Base, • Graduation Interval 1.0 ml.
	30

	18
	Measuring Cylinder (500 ML)
	500 mL, Cylinders, Graduated, Single Metric Scale, with Pour out, with Hexagonal Base, • Graduation Interval 5.0 ml.
	15

	19
	Beaker (500 ML) Borosilicate
	Griffin, Low Form , with spout
 • The spout design enables clean and precise pouring
 • Uniform wall thickness distribution makes it ideal for heating liquids
 • The easy-to-read scale and large labeling field make marking easier
 • High resistance to chemical attack
 • Double graduation metric scale for convenience
	60

	20
	Beaker (250 ML) Borosilicate
	Griffin, Low Form, with spout
 • The spout design enables clean and precise pouring
 • Uniform wall thickness distribution makes it ideal for heating liquids
 • The easy-to-read scale and large labeling field make marking easier
 • High resistance to chemical attack
 • Double graduation metric scale for convenience
	60

	21
	Conical flask (250 ML Borosilicate
	Erlenmeyer, Conical, Narrow Mouth
 Complies with IS 1381(Part I),ISO / DIN 1773
 Graduated from 50 ml to 250 ml
 • Uniform wall thickness distribution makes these Flasks ideal for heating
 • The conical form makes them suitable for mixing liquids
 • The easy-to-read scale and large labeling field facilitate easy marking
	70

	22
	Volumetric Measuring flask ( 250 ML)
	With Interchangeable PP Stopper Accuracy as per Class B
 • Manufactured from 3.3 borosilicate, USP Type I glass for corrosion-free performance
 • Amber enamel inscriptions
 • Certified and Calibrated at 27°C
 • Tolerance ± 0.30 ml.
 • Stopper Size 14/15
	70

	23
	Measuring cylinder (1000ML)
	Borosilicate glass
	10

	24
	Burette (50 ML)
	50 ml, Borosilicate glass
	100

	25
	Pipette grad. (10 ML)
	10 ml
	100

	26
	Pipette grad. (25 ML)
	25 ml
	100

	27
	Pipette grad. (5 ML)
	5 ml
	100

	28
	Stand with Clamp and bosshead heavy 7"x5"
	standard size
	50

	29
	Specific gravity bottle 
 ( Borosil glass (50 ML)
	Borosilicate, 25 mL
	120

	30
	Funnels
	DIA. 50, 65, 75 mm, Borosilicate glass
	100

	31
	Reagent bottle 60ml
	60 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50

	32
	Reagent bottle 125ml
	125 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50

	33
	Reagent bottle 250ml
	250 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50

	34
	Reagent bottle 500ml
	500 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50

	35
	Wash bottle
	LDPE Plastic bottles, 500 mL
	50

	36
	Flask Conical (100 ML)
	100 ml, Borosilicate glass
	100

	37
	Laboratory thermometer (0 to 360C)
	Filling: Mercury Filled
 Material: Glass and Mercury
 Temperature Range: 0-100 Degree C0 to 200 ᵒC
	10

	38
	Sprit lamp SS
	SS
	50

	39
	Glass tube
	Borosilicate glass
	100

	40
	Glass rod
	Borosilicate glass
	10

	41
	Cork wooden
	 
	200

	42
	Tripod Stand
	 
	50

	43
	Stop watch Racer
	Stopwatch 1/100 second
 Time Display: Hour, Minute and Seconds
 Calendar Display: Day, Date Month
 Alarm
	20

	44
	China Dish 3"
	 
	100

	45
	Watch glass
	80 ml, Borosilicate glass
	200

	46
	Volumetric Measuring flask (100 ML) Borosilicate
	100 ml,Borosilicate glass
	100

	47
	Volumetric Measuring flask (1000 ML) Borosilicate
	1000 ml, Borosilicate glass
	50

	48
	Volumetric Measuring flask (500 ML) Borosilicate
	500 ml, Borosilicate glass
	50

	49
	Keep's Apparatus 
	500 litter, Borosilicate glass
	2

	50
	Rubber Corck 
	 Different Size 5 Kg
	5 kg

	51
	Safety goggles
	 
	100 Pices

	52
	Nitrile gloves
	 
	10 box





Chemicals & Reagents

	S.No
	Name of Chemicals
	     Quantity(gram)
	      Unit

	1
	2-4-D.N.P
	500
	5

	2
	Acetaldehyde
	500
	5

	3
	Acetic acid
	500
	5

	4
	Acetic Acid Glacial
	500
	5

	5
	Acetic anhydride
	500
	5

	6
	Acetone
	500
	20

	7
	Adipic Acid
	500
	5

	8
	Aluminium Oxide
	500
	5

	9
	Aluminum
	500
	5

	10
	Ammonia Solution
	500
	5

	11
	Ammonium Molybdate
	500
	5

	12
	Ammonium Oxalate
	500
	5

	13
	Ammonium sulphide
	500
	5

	14
	Aniline
	500
	5

	15
	Barium
	500
	5

	16
	Barium acetate
	500
	5

	17
	Barium Chloride
	500
	5

	18
	Barium hydroxide
	500
	5

	19
	Benzaldehyde
	500
	5

	20
	Benzene
	500
	5

	21
	Benzoic Acid
	500
	5

	22
	Beta napthol
	500
	5

	23
	Bismuth Nitrate
	500
	5

	24
	Bismuth trichloride
	500
	5

	25
	Bleaching Powder
	500
	5

	26
	Boric acid
	500
	5

	27
	Bromobenzene
	500
	5

	28
	Chloroform
	500
	5

	29
	Chromic acid
	500
	5

	30
	Cobalt Chloride
	500
	5

	31
	Copper carbonate
	500
	5

	32
	Copper Sulphate
	500
	5

	33
	D- Glucose
	500
	5

	34
	Diethyl Ether
	500
	5

	35
	Dimethyl glyoxime
	500
	5

	36
	Dipheyl Amine
	500
	5

	37
	Ethanol
	500
	5

	38
	Ethyl Acetate
	500
	5

	39
	Ethyl aceto acetate
	500
	5

	40
	Ethyl Alcohol
	500
	5

	41
	Ethyl benzoate
	500
	5

	42
	Ethyl diamine
	500
	5

	43
	Ethylene Glycol
	500
	5

	44
	Fractional Condenser
	500
	5

	45
	Fehling solution A
	500
	5

	46
	Fehling solution B
	500
	5

	47
	Ferric Chloride
	500
	5

	48
	Ferric Nitrate
	500
	5

	49
	Ferrous Ammonium Sulphate
	500
	5

	50
	Ferrous sulphate
	500
	5

	51
	Formaldehyde
	500
	5

	52
	 β napthol
	500
	5

	53
	Glycrine
	500
	5

	54
	Hexamethylenediamine
	500
	5

	55
	Hydrazine Sulphate
	500
	5

	56
	Hydrochloric Acid
	500
	5

	57
	Hydrofluoric acid
	500
	5

	58
	Hydrogen Peroxide
	500
	5

	59
	Iodine
	500
	5

	60
	Iron Chloride anhydrous
	500
	5

	61
	Iron Filling
	500
	5

	62
	K2SO4
	500
	5

	63
	Lanthanum Chloride
	500
	5

	64
	Lead acetate 
	500
	5

	65
	Lead acetate tri-hydrate
	500
	5

	66
	Lead Nitrate
	500
	5

	67
	Lead nitrate pure
	500
	5

	68
	Lead Oxide
	500
	5

	69
	Leibing Condenser
	500
	5

	70
	Liquor Ammonia 0-91
	500
	5

	71
	L-Tartaric Acid
	500
	5

	72
	Magnesium wire
	500
	5

	73
	Magnesium Nitrate
	500
	5

	74
	Manganese (II)
	500
	5

	75
	Mercuric Chloride
	500
	5

	76
	Mercusons Chloride
	500
	5

	77
	Methanol Mercuric nitrate
	500
	5

	78
	Methyl Acetate(Lab)
	500
	5

	79
	Methyl Acetate(Syn)
	500
	5

	80
	Methyl Alochol
	500
	5

	81
	N,N Dimethyl Aniline
	500
	5

	82
	Naphthalene
	500
	5

	83
	Neodymium Oxide
	500
	5

	84
	Nesler Reagent
	500
	5

	85
	Nickel Chloride
	500
	5

	86
	Nickel Nitrate
	500
	5

	87
	Nickel Sulphate
	500
	5

	88
	Oxalic Acid
	500
	5

	89
	Para Nitrophenol
	500
	5

	90
	paraChloroBenzaldehyde
	500
	5

	91
	Petroleum Ether 60-80
	500
	5

	92
	Phenol
	500
	5

	93
	Phenyl Hydrazine
	500
	5

	94
	Picric Acid
	500
	5

	95
	Polyvinyl alcohol
	500
	5

	96
	Potash Alum,
	500
	5

	97
	Potasioum Permagnent
	500
	5

	98
	Potassium
	500
	5

	99
	Potassium Bromate
	500
	5

	100
	Potassium chloride
	500
	5

	101
	Potassium Dichromate
	500
	5

	102
	Propylene Glycol
	500
	5

	103
	Pyridine
	500
	5

	104
	Salicylic Acid
	500
	5

	105
	Silica Gel-G
	500
	5

	106
	Silver Nitrate
	25
	5

	107
	Sodium Acetate
	500
	5

	108
	Sodium Metal
	500
	5

	109
	Sodium Nitrate
	500
	5

	110
	Sodium Thosulphate
	500
	5

	111
	Steric Acid
	500
	5

	112
	Strontium nitrate
	500
	5

	113
	Sulphate
	500
	5

	114
	Sulphuric Acid
	500
	5

	115
	Tetra-n-butyl orthotitanate
	500
	5

	116
	Thiourea
	500
	5

	117
	Tin(II) Chloride
	500
	5

	118
	Toulance Reagent
	500
	5

	119
	Zinc Chloride
	500
	5

	120
	Zinc Nitrate
	500
	5

	121
	Zinc Sulphate
	500
	5

	122
	Stanus Chloride
	500
	5

	123
	Stanic Chloride
	500
	5

	124
	Borax
	500
	5

	125
	Ammonium Nitrate
	500
	5

	126
	Sodium Chromate
	500
	5

	127
	Cobalt Nitarte
	500
	5

	128
	Activated Charcol Block
	500
	20

	129
	Nickel Chloride
	500
	5

	130
	Stransium Chloride
	500
	5

	131
	Sodium Carbonate
	500
	5

	132
	Sodium Thiosulphate
	500
	5

	133
	Potasium Ferrocynide
	500
	5

	134
	Potasium Ferricynide
	500
	5

	135
	Alizarium-S
	500
	5

	136
	Ammonium thiocynaide
	500
	5

	137
	Lead(II) Sulfate
	500
	5

	138
	Magnanese(IV)oxide
	500
	5

	139
	Ferrothiocynate
	500
	5

	140
	Sodium Metal
	500
	2



Lab Instruments & Equipment
	S.NO
	Item
	Description 
	Quantity

	1
	Weighing boats/paper
	 
	150

	2
	pH meter
	20 x 2 line back lighted LCD display., pH Meter complies to USP and DIN standards, alphanumeric splash waterproof polyester keyboard with soft keys., Range 0° to 150° C.
	4

	3
	Conductivity meter
	 
	5

	4
	Heating mantle
	 
	5

	5
	Titration set (pipette, burette, flask)
	 
	100 sets

	6
	Electronic Balance
	Type of Electronic Weighing Machine: Electronic Precision Pan Balance
 Rated Load/ Capacity(kg): 220 gm
 Resolution(gms): 1 mg
 Class type Class-I
 Display: led
 Number of Display: single
 Speed of measurement: 4 second
 Number of scale division: 1000
 Tare provision: Manual
 Power Requirement mains operated battery operated
 Power Supply: Single Phase
 DC Operating voltage in Volts: 6 Volt
 Battery Backup: Yes
 Backup time(hour): 10
 Battery type: Non-rechargeable
 Battery rating: AAA1.5v
 Type of Sensing Element: Load Cell
 Number of load cell/EMFC: 1
 Class of Protection: IP 65
	2

	7
	MAGNETIC STIRRER WITH HOT PLATE
	Number of stirring Positions: 1
 Calibration: Automatic Calibration
 Type of Drive Motor: Motorless magnetic coil type
 Display Option/Output Read out Option: Digital
 Magnetic stirrer is: with a hot plate or some other means for heating the liquid
 Controller type: Electronically controlled and Programmable
 Speed Control Accuracy of set speed (+/-) (RPM): 0
 Maximum Stirring capacity per position: 2000 milliliter
 Ceramic Top Plate Material, Digital Front Panel, Last run memory
 CE certified Product (seller to furnish supporting document to Buyer on demand)
 SPEED
 Speed Mode: Variable Speed
 Minimum Speed Possible (RPM): 50
 Maximum Speed (RPM) of variable speed mode equipment: 1600
 DIMENSIONS
 External Dimension: (Height )200 millimeter
 External Dimension: Width 200 millimeter
 External Dimension: Depth: 50 millimeter
 Body Material: Stainless Steel
 Finish of Body material: Powder coated
 Top plate Finish: Ceramic coated
 STIR BAR
 Stir bar cover material: PTFE QUOTED ALNICO MAGNET
 Stir Bar length: 200 millimeter
 TOP PLATE
 Top plate area shape: Circular
 Circular Top plate diameter: 1000 millimeter
 Top plate Finish: Ceramic coated
	3

	8
	Melting Point Apparatus
	Height (Metric)- 200 mm, Accuracy ± 0.2°C,
 Depth (Metric)- 370 mm,
 Hertz-50 / 60 Hz
 Voltage-100 to 240 ± 10% VAC
 For Use With
 Melting and boiling point capillaries,
 Display Type
 Color, TFT, 320 x 240, 3.5 in.
 Includes
 Calibration set; Melting point tubes (100 pcs); Boiling point tubes (10 pcs); Sample holder
 Temperature Range (Metric)
 10 to 400°C
 Wattage
 150 W
	2 no.

	9
	Borosil bi double distillation plant set.
	 
	2

	10
	UV- chamber
	 
	2

	11
	Ultrasonicator
	 
	1


	S.NO
	 Item
	 Description
	Quantity

	1
	Lab Stool for Chemistry Lab
	Lab Stool of  circular type 30.0 +/- 0.5 cm and made up of 0.1+/- 0.012 cm thk CR Steel. It is welded to the understructure and black powder coated ( DFT 40-60 microns ). UNDERSTRUCTURE ASSEMBLY: The understructure is made of MS tube 2.2 +/- 0.03 cm x 0.16+/- 0.0128 cm thk MS ERW tube. lt is welded ti the MS fabricated circular seat assembly and black powder coated ( DFT 40-60 microns ). The understructure is provided with black PP injection moulded ferrules.
	60

	2
	Chemical storage cabinets (with lock)
	 
	9

	



3
	Notice/Instruction board
	Notice Board with size 4' X 3' Surface Material-woolen felt / fabric in various colours,Core material-9 mm thick soft board,Backing Material-0.62 mm to 0.82mm thick laminate sheet with extra melamine surface mix colour OR 0.16 to 0.25 mm thick ISI mark GP sheet,Aluminium frame-Anodized 5 microns extruded aluminium section designation 63400 as per IS:1285- 2002 - 16 mm thickness
	2

	4
	Fire extinguisher (CO₂ or DCP)
	 
	6

	5
	Gas Pipe Line Set up
	 
	30 no of Burner


Lab Setup/Furniture

Note: 
· [bookmark: _Toc158637961][bookmark: _Toc176088568][bookmark: _Toc176091407][bookmark: _Toc176091551]Prices should be quoted in Indian Rupee only and indicated both in figures and words. The amount mentioned in words will prevail.
· [bookmark: _Toc158637962][bookmark: _Toc176088569][bookmark: _Toc176091408][bookmark: _Toc176091552]It is bidders’ responsibility to install, commission, test, and go live.
· [bookmark: _Toc158637963][bookmark: _Toc176088570][bookmark: _Toc176091409][bookmark: _Toc176091553]All the items’ counts mentioned above is only tentative number, it may exceed or less as per the work.
· [bookmark: _Toc158637964][bookmark: _Toc176088571][bookmark: _Toc176091410][bookmark: _Toc176091554]The BoQ mentioned in the RFP is for the entire scope of work and duration mentioned in this RFP. Bidders are requested to do site visits to check the feasibility and to ensure achievement of the objective and scope of work of this RFP.


19. [bookmark: _Toc176091555]Warranty Services

The bidders will provide comprehensive warranty details for all the equipment. It would be the bidder’s responsibility to arrange all updates and upgrades through respective OEMs. The bidder must provide all updates and upgrades for the proposed Equipment’s free of cost during warranty period. 
The bidder shall put in place all back-to-back support agreements for the proposed equipment with respective OEMs for warranty services and submit documents in support of the same.
Note: Warranty support services for all equipment during the execution of the project before the project is signed off shall be provided by the bidder at no cost to Gaya College of Engineering Gaya .

20. [bookmark: _Toc176091556]Documentation

The Bidder shall provide the following documentation. The content and format of the documentation will be discussed and agreed with Gaya College of Engineering, Gaya prior to development/delivery of the documentation.

a) Comprehensive configuration of all equipments
b) Manuals of all Equipments (hard and/or soft copies).
c) A comprehensive test report covering all the areas.


21. [bookmark: _Toc158637968][bookmark: _Toc176091557]Payment Schedule:
The Bidder shall submit the invoice along with following documents: -
a. Physical verification by the Institute supported by Delivery challan/Courier receipt or any other supporting document.
b. Document clearly mapping list of the materials with Make, Model, Serial number.  
          c.    100% Payment of the total cost on delivery of material/equipment’s, Installing, Commissioning and Final acceptance test by the institute, commissioning and Go-Live.
22. [bookmark: _Toc158637973][bookmark: _Toc176091558]Penalty
The bidder shall ensure the delivery of equipment and installation of entire equipment’s at the institute within 8 weeks from the date of award of contract. If not completed in the specified timelinesuitable penalty would be imposed as decided by the principal of Gaya College of Engineering Gaya .
23. [bookmark: _Toc176091559]Indemnity
The supplier shall indemnify, protect, and save Gaya College of Engineering, Gaya against all claims, losses, costs, damages, expenses, action suits and other proceedings resulting from infringements in respect of all hardware and software supplied to Gaya College of Engineering Gaya . Gaya College of Engineering Gaya also stand indemnified from any compensation arising out of accidental loss of life or injury sustained by any manpower while working on the project.


24. [bookmark: _Toc176091560]Termination, Dispute Resolution & Other
24.1. [bookmark: _Toc176091561]Termination of Contract

1. If bidder found to be involved in fraudulent practices (misrepresentation or omission of facts or suppression/hiding of facts or disclosure of incomplete facts), in order to secure eligibility to the bidding process during the submission of bid or after release of Letter of Intent (LoI) or agreement formalization after signing of contract, shall be liable for punitive action amounting to blacklisting of the bidder, including the forfeiture of concerned EMD and/or Performance Security also, whatever it relates.

1. Notwithstanding contained here, the Gaya College of Engineering, Gaya  prejudice to any other contractual rights and remedies available to it, shall by written notice of any default in service / installation/ testing /commissioning etc. sent to the bidder, terminate the contract in whole or in part, if the bidder fails to perform services as specified in the present contract read with the terms of the contract agreement or any other contractual obligations within the time period specified in the contract and the firm may be blacklisted, consequently the performance security may be forfeited.

1. Termination for Insolvency - If the bidder becomes bankrupt or otherwise insolvent, it will inform to the Gaya College of Engineering, Gaya within 30 days’ written notice to terminate the contract. Gaya College of Engineering, Gaya reserves the right to terminate, without any compensation, whatsoever, to the bidder, and may forfeit the performance security.

1. Termination by mutual consent - In the event the Gaya College of Engineering, Gaya and the bidder mutually agree to the terminate the contract, either party shall give 90 days’ written notice to the other party and after the consent of both the parties contract may be terminated without any Legal or financial obligation on any party to the contract.

24.2. [bookmark: _Toc176091562]Force Majeure
0. For purposes of this clause, Force Majeure means an event beyond the control of the bidder and not involving the bidder’s fault or negligence, and which is not foreseeable and not brought about at the instance of, the party claiming to be affected by such event and which has caused the non – performance or delay in performance. Such events may include wars or revolutions, hostility, acts of public enemy, civil commotion, sabotage, fires, floods, explosions, earthquake, epidemics, quarantine restrictions, strikes excluding by its employees, lockouts excluding by its management, and freight embargoes.

0. If a Force Majeure situation arises, the bidder shall promptly notify the Gaya College of Engineering, Gaya in writing of such conditions and the cause thereof within 7 days of occurrence of such event. Unless otherwise directed by the bidder in writing, the bidder shall continue to perform its obligations under the contract as far as reasonably practical and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

0. If the performance in whole or in part or any obligation under this contract is prevented or delayed by any reason of Force Majeure for a period exceeding thirty days, either party may at its option terminate the contract without any financial repercussion on either side.


24.3. [bookmark: _Toc176091563]Notices

Notice, if any, relating to the contract given by one party to the other, shall be sent in writing or e-mail or by post. The addresses of the parties for exchanging such notices will be the addresses as incorporated in the contract between the Gaya College of Engineering, Gaya  and the bidder.

24.4. [bookmark: _Toc176091564]Resolution of Disputes

1. Any dispute, difference, or claim arising out of or in relation to this Agreement, will be settled by reaching a mutual understanding between the parties.
1. If any further dispute arises between the parties thereupon, the same will be settled as per the extant law of land through the competent court of law under the territorial jurisdiction of Patna only.

24.5. [bookmark: _Toc176091565]Applicable Law
The contract shall be governed by and interpreted in accordance with the laws of India for the time being in force. 

















[bookmark: _Toc176091566]

ANNEXURE-1
<Company Letter head>
TECHNICAL DATA SHEET
Details of contractor/ service provider
	S.I No.
	Description
	Information

	1
	Name of Tenderer &Contact person with complete address, email & mobile No: -
	

	2
	Status of the Tenderer (attach documents if registered company/partnership/ proprietorship/LLP) with year of establishment.
	

	3
	Statutory details (photocopy to be attached)
a) Registration No. of the Firm-
b) PAN-
c) GST Reg. No.-
	

	4
	Number of Project Experience in supply of Machines and laboratory Equipment’s for  Engineering for a Central / State Government Organization / Public Sector Unit (PSU)/ Private University Recognized /affiliated to UGC/ AICTE in India. With minimum contract value of 50 lakhs.

	
	Name of the Project 
	Client Name& Contact information  
	Project Value
(INR)

	
	1.
2. 
3.
	
	

	5
	Average turnover of the Bidder/OEM in the last 3 years 

	
	FY 2023-24
	FY 2024-25
	FY 2025-26

	
	
	
	

	6
	The bidder must have at least 3 years’ experience in supply of Machines and laboratory Equipment’s for Engineering with a Central / State Government Organization / Public Sector Unit (PSU)/ Private University Recognized /affiliated to UGC/ AICTE in India.

	
	Name of the Project
	Client Name & Contact information
	Duration
(Year)

	
	1.
2. 
3.
	
	

	7
	Declaration that the bidder has not been debarred / blacklisted by any Government/Semi-Government/ PSU (As per Annexure4)
	



Note: Attach necessary documentary evidence to substantiate information mentioned above. 
< Authorised Signature >
Name:			
Designation:	



[bookmark: _Toc176091567]			ANNEXURE-2
<Company Letter head>
FINANCIAL BID FORMAT (Rs in Lakh)
To, 
The Principal 
Gaya College of Engineering, Gaya  
Bihar 
Chemistry Lab Equipments and other Items
Glassware
	S.NO
	Name of the Equipment
	Specifications
	Qty
(No.)
	Amount (A)

	GST/Tax amount (B)
	Total Amount 
(C=A+B)

	1
	Ostwalds Viscometer
	Comprises glass U-Tube with two bulbs, connected by a capillary tube.Borosilicate glass
	50
	
	
	

	2
	Stalagmometer
	Shape: Straight, Borosilicate glass
	50
	
	
	

	3
	Pipette Pump
	Plastic material, Capacity around 2-25 ml, Accurate pipetting and dispensing of liquids
	30
	
	
	

	4
	Fussion Tube (Pkt. Of 1 gross)
	Stnadard size
	2
	
	
	

	5
	Platinum wire (With glass tube)
	Platinum wire (With glass tube)
	10
	
	
	

	6
	Ion Exchanger (Deionizer)/U Tech Double bed deionizer
	Two PVC cylinders filled with cation and anion exchange resin, Flow rate 50 to 70 lit/hr
	2
	
	
	

	8
	Hot water bath
	Stainless Steel Water Bath for laboratory use, 230 V, with atleast 6 holes
	5
	
	
	

	9
	Glass Plates/Slides (packet)
	Plain, Ground edges, 76 x 26 x 1 (pack size mm)
	50
	
	
	

	10
	Dropping bottles with droper and rubber Teat
	Borosilicate glass, capacity 60 and 125 ml
	120
	
	
	

	11
	Capillary Tubes ( Fine) pkt.
	Glass Tube
 Size: 0. 30mm od to 10. 00mm od
	10
	
	
	

	12
	Glass Jar
	2000 mL, Tooled Naked Bottles,
	20
	
	
	

	13
	Funnel( Conical)
	Borosilicate , Diameter 75 mm
	120
	
	
	

	14
	Reflux Condenser
	Borosillicate; (Liebig Condensor); 300 mm jacket length, joint socket 14/19
	20
	
	
	

	15
	Measuring Cylinder (10 ML)
	10 ml, Borosilicate glass
	60
	
	
	

	16
	Measuring Cylinder (50 ML)
	50 ml, Borosilicate glass
	60
	
	
	

	17
	Measuring Cylinder (100 ML)
	100 Ml, Cylinders, Graduated, Single Metric Scale, with Pour out, with Hexagonal Base, • Graduation Interval 1.0 ml.
	30
	
	
	

	18
	Measuring Cylinder (500 ML)
	500 mL, Cylinders, Graduated, Single Metric Scale, with Pour out, with Hexagonal Base, • Graduation Interval 5.0 ml.
	15
	
	
	

	19
	Beaker (500 ML) Borosilicate
	Griffin, Low Form , with spout
 • The spout design enables clean and precise pouring
 • Uniform wall thickness distribution makes it ideal for heating liquids
 • The easy-to-read scale and large labeling field make marking easier
 • High resistance to chemical attack
 • Double graduation metric scale for convenience
	60
	
	
	

	20
	Beaker (250 ML) Borosilicate
	Griffin, Low Form, with spout
 • The spout design enables clean and precise pouring
 • Uniform wall thickness distribution makes it ideal for heating liquids
 • The easy-to-read scale and large labeling field make marking easier
 • High resistance to chemical attack
 • Double graduation metric scale for convenience
	60
	
	
	

	21
	Conical flask (250 ML Borosilicate
	Erlenmeyer, Conical, Narrow Mouth
 Complies with IS 1381(Part I),ISO / DIN 1773
 Graduated from 50 ml to 250 ml
 • Uniform wall thickness distribution makes these Flasks ideal for heating
 • The conical form makes them suitable for mixing liquids
 • The easy-to-read scale and large labeling field facilitate easy marking
	70
	
	
	

	22
	Volumetric Measuring flask ( 250 ML)
	With Interchangeable PP Stopper Accuracy as per Class B
 • Manufactured from 3.3 borosilicate, USP Type I glass for corrosion-free performance
 • Amber enamel inscriptions
 • Certified and Calibrated at 27°C
 • Tolerance ± 0.30 ml.
 • Stopper Size 14/15
	70
	
	
	

	23
	Measuring cylinder (1000ML)
	Borosilicate glass
	10
	
	
	

	24
	Burette (50 ML)
	50 ml, Borosilicate glass
	100
	
	
	

	25
	Pipette grad. (10 ML)
	10 ml
	100
	
	
	

	26
	Pipette grad. (25 ML)
	25 ml
	100
	
	
	

	27
	Pipette grad. (5 ML)
	5 ml
	100
	
	
	

	28
	Stand with Clamp and bosshead heavy 7"x5"
	standard size
	50
	
	
	

	29
	Specific gravity bottle 
 ( Borosil glass (50 ML)
	Borosilicate, 25 mL
	120
	
	
	

	30
	Funnels
	DIA. 50, 65, 75 mm, Borosilicate glass
	100
	
	
	

	31
	Reagent bottle 60ml
	60 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50
	
	
	

	32
	Reagent bottle 125ml
	125 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50
	
	
	

	33
	Reagent bottle 250ml
	250 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50
	
	
	

	34
	Reagent bottle 500ml
	500 ml,Borosilicate glass, Narrow Mouth, Amber Graduated, With Interchangeable Flat Head Stopper
	50
	
	
	

	35
	Wash bottle
	LDPE Plastic bottles, 500 mL
	50
	
	
	

	36
	Flask Conical (100 ML)
	100 ml, Borosilicate glass
	100
	
	
	

	37
	Laboratory thermometer (0 to 360C)
	Filling: Mercury Filled
 Material: Glass and Mercury
 Temperature Range: 0-100 Degree C0 to 200 ᵒC
	10
	
	
	

	38
	Sprit lamp SS
	SS
	50
	
	
	

	39
	Glass tube
	Borosilicate glass
	100
	
	
	

	40
	Glass rod
	Borosilicate glass
	10
	
	
	

	41
	Cork wooden
	 
	200
	
	
	

	42
	Tripod Stand
	 
	50
	
	
	

	43
	Stop watch Racer
	Stopwatch 1/100 second
 Time Display: Hour, Minute and Seconds
 Calendar Display: Day, Date Month
 Alarm
	20
	
	
	

	44
	China Dish 3"
	 
	100
	
	
	

	45
	Watch glass
	80 ml, Borosilicate glass
	200
	
	
	

	46
	Volumetric Measuring flask (100 ML) Borosilicate
	100 ml,Borosilicate glass
	100
	
	
	

	47
	Volumetric Measuring flask (1000 ML) Borosilicate
	1000 ml, Borosilicate glass
	50
	
	
	

	48
	Volumetric Measuring flask (500 ML) Borosilicate
	500 ml, Borosilicate glass
	50
	
	
	

	49
	Keep's Apparatus 
	500 litter, Borosilicate glass
	2
	
	
	

	50
	Rubber Corck 
	 Different Size 5 Kg
	   5 kg
	
	
	

	51
	Safety goggles
	 
	100 Pices
	
	
	

	52
	Nitrile gloves
	 
	      10 box
	
	
	



Chemicals & Reagents

	S.No
	Name of Chemicals
	     Quantity(gram)
	      Unit
	Amount (A)

	GST/Tax amount (B)
	Total Amount 
(C=A+B)

	1
	2-4-D.N.P
	500
	5
	
	
	

	2
	Acetaldehyde
	500
	5
	
	
	

	3
	Acetic acid
	500
	5
	
	
	

	4
	Acetic Acid Glacial
	500
	5
	
	
	

	5
	Acetic anhydride
	500
	5
	
	
	

	6
	Acetone
	500
	20
	
	
	

	7
	Adipic Acid
	500
	5
	
	
	

	8
	Aluminium Oxide
	500
	5
	
	
	

	9
	Aluminum
	500
	5
	
	
	

	10
	Ammonia Solution
	500
	5
	
	
	

	11
	Ammonium Molybdate
	500
	5
	
	
	

	12
	Ammonium Oxalate
	500
	5
	
	
	

	13
	Ammonium sulphide
	500
	5
	
	
	

	14
	Aniline
	500
	5
	
	
	

	15
	Barium
	500
	5
	
	
	

	16
	Barium acetate
	500
	5
	
	
	

	17
	Barium Chloride
	500
	5
	
	
	

	18
	Barium hydroxide
	500
	5
	
	
	

	19
	Benzaldehyde
	500
	5
	
	
	

	20
	Benzene
	500
	5
	
	
	

	21
	Benzoic Acid
	500
	5
	
	
	

	22
	Beta napthol
	500
	5
	
	
	

	23
	Bismuth Nitrate
	500
	5
	
	
	

	24
	Bismuth trichloride
	500
	5
	
	
	

	25
	Bleaching Powder
	500
	5
	
	
	

	26
	Boric acid
	500
	5
	
	
	

	27
	Bromobenzene
	500
	5
	
	
	

	28
	Chloroform
	500
	5
	
	
	

	29
	Chromic acid
	500
	5
	
	
	

	30
	Cobalt Chloride
	500
	5
	
	
	

	31
	Copper carbonate
	500
	5
	
	
	

	32
	Copper Sulphate
	500
	5
	
	
	

	33
	D- Glucose
	500
	5
	
	
	

	34
	Diethyl Ether
	500
	5
	
	
	

	35
	Dimethyl glyoxime
	500
	5
	
	
	

	36
	Dipheyl Amine
	500
	5
	
	
	

	37
	Ethanol
	500
	5
	
	
	

	38
	Ethyl Acetate
	500
	5
	
	
	

	39
	Ethyl aceto acetate
	500
	5
	
	
	

	40
	Ethyl Alcohol
	500
	5
	
	
	

	41
	Ethyl benzoate
	500
	5
	
	
	

	42
	Ethyl diamine
	500
	5
	
	
	

	43
	Ethylene Glycol
	500
	5
	
	
	

	44
	Fractional Condenser
	500
	5
	
	
	

	45
	Fehling solution A
	500
	5
	
	
	

	46
	Fehling solution B
	500
	5
	
	
	

	47
	Ferric Chloride
	500
	5
	
	
	

	48
	Ferric Nitrate
	500
	5
	
	
	

	49
	Ferrous Ammonium Sulphate
	500
	5
	
	
	

	50
	Ferrous sulphate
	500
	5
	
	
	

	51
	Formaldehyde
	500
	5
	
	
	

	52
	 β napthol
	500
	5
	
	
	

	53
	Glycrine
	500
	5
	
	
	

	54
	Hexamethylenediamine
	500
	5
	
	
	

	55
	Hydrazine Sulphate
	500
	5
	
	
	

	56
	Hydrochloric Acid
	500
	5
	
	
	

	57
	Hydrofluoric acid
	500
	5
	
	
	

	58
	Hydrogen Peroxide
	500
	5
	
	
	

	59
	Iodine
	500
	5
	
	
	

	60
	Iron Chloride anhydrous
	500
	5
	
	
	

	61
	Iron Filling
	500
	5
	
	
	

	62
	K2SO4
	500
	5
	
	
	

	63
	Lanthanum Chloride
	500
	5
	
	
	

	64
	Lead acetate 
	500
	5
	
	
	

	65
	Lead acetate tri-hydrate
	500
	5
	
	
	

	66
	Lead Nitrate
	500
	5
	
	
	

	67
	Lead nitrate pure
	500
	5
	
	
	

	68
	Lead Oxide
	500
	5
	
	
	

	69
	Leibing Condenser
	500
	5
	
	
	

	70
	Liquor Ammonia 0-91
	500
	5
	
	
	

	71
	L-Tartaric Acid
	500
	5
	
	
	

	72
	Magnesium wire
	500
	5
	
	
	

	73
	Magnesium Nitrate
	500
	5
	
	
	

	74
	Manganese (II)
	500
	5
	
	
	

	75
	Mercuric Chloride
	500
	5
	
	
	

	76
	Mercusons Chloride
	500
	5
	
	
	

	77
	Methanol
Mercuric nitrate
	500
	5
	
	
	

	78
	Methyl Acetate(Lab)
	500
	5
	
	
	

	79
	Methyl Acetate(Syn)
	500
	5
	
	
	

	80
	Methyl Alochol
	500
	5
	
	
	

	81
	N,N Dimethyl Aniline
	500
	5
	
	
	

	82
	Naphthalene
	500
	5
	
	
	

	83
	Neodymium Oxide
	500
	5
	
	
	

	84
	Nesler Reagent
	500
	5
	
	
	

	85
	Nickel Chloride
	500
	5
	
	
	

	86
	Nickel Nitrate
	500
	5
	
	
	

	87
	Nickel Sulphate
	500
	5
	
	
	

	88
	Oxalic Acid
	500
	5
	
	
	

	89
	Para Nitrophenol
	500
	5
	
	
	

	90
	paraChloroBenzaldehyde
	500
	5
	
	
	

	91
	Petroleum Ether 60-80
	500
	5
	
	
	

	92
	Phenol
	500
	5
	
	
	

	93
	Phenyl Hydrazine
	500
	5
	
	
	

	94
	Picric Acid
	500
	5
	
	
	

	95
	Polyvinyl alcohol
	500
	5
	
	
	

	96
	Potash Alum,
	500
	5
	
	
	

	97
	Potasioum Permagnent
	500
	5
	
	
	

	98
	Potassium
	500
	5
	
	
	

	99
	Potassium Bromate
	500
	5
	
	
	

	100
	Potassium chloride
	500
	5
	
	
	

	101
	Potassium Dichromate
	500
	5
	
	
	

	102
	Propylene Glycol
	500
	5
	
	
	

	103
	Pyridine
	500
	5
	
	
	

	104
	Salicylic Acid
	500
	5
	
	
	

	105
	Silica Gel-G
	500
	5
	
	
	

	106
	Silver Nitrate
	25
	5
	
	
	

	107
	Sodium Acetate
	500
	5
	
	
	

	108
	Sodium Metal
	500
	5
	
	
	

	109
	Sodium Nitrate
	500
	5
	
	
	

	110
	Sodium Thosulphate
	500
	5
	
	
	

	111
	Steric Acid
	500
	5
	
	
	

	112
	Strontium nitrate
	500
	5
	
	
	

	113
	Sulphate
	500
	5
	
	
	

	114
	Sulphuric Acid
	500
	5
	
	
	

	115
	Tetra-n-butyl orthotitanate
	500
	5
	
	
	

	116
	Thiourea
	500
	5
	
	
	

	117
	Tin(II) Chloride
	500
	5
	
	
	

	118
	Toulance Reagent
	500
	5
	
	
	

	119
	Zinc Chloride
	500
	5
	
	
	

	120
	Zinc Nitrate
	500
	5
	
	
	

	121
	Zinc Sulphate
	500
	5
	
	
	

	122
	Stanus Chloride
	500
	5
	
	
	

	123
	Stanic Chloride
	500
	5
	
	
	

	124
	Borax
	500
	5
	
	
	

	125
	Ammonium Nitrate
	500
	5
	
	
	

	126
	Sodium Chromate
	500
	5
	
	
	

	127
	Cobalt Nitarte
	500
	5
	
	
	

	128
	Activated Charcol Block
	500
	20
	
	
	

	129
	Nickel Chloride
	500
	5
	
	
	

	130
	Stransium Chloride
	500
	5
	
	
	

	131
	Sodium Carbonate
	500
	5
	
	
	

	132
	Sodium Thiosulphate
	500
	5
	
	
	

	133
	Potasium Ferrocynide
	500
	5
	
	
	

	134
	Potasium Ferricynide
	500
	5
	
	
	

	135
	Alizarium-S
	500
	5
	
	
	

	136
	Ammonium thiocynaide
	500
	5
	
	
	

	137
	Lead(II) Sulfate
	500
	5
	
	
	

	138
	Magnanese(IV)oxide
	500
	5
	
	
	

	139
	Ferrothiocynate
	500
	5
	
	
	

	140
	Sodium Metal
	500
	2
	
	
	



Lab Instruments & Equipment
	S.NO
	Item
	Description 
	Qty
(No.)
	Amount (A)

	GST/Tax amount (B)
	Total Amount 
(C=A+B)

	1
	Weighing boats/paper
	 
	150
	
	
	

	2
	pH meter
	20 x 2 line back lighted LCD display., pH Meter complies to USP and DIN standards, alphanumeric splash waterproof polyester keyboard with soft keys., Range 0° to 150° C.
	4
	
	
	

	3
	Conductivity meter
	 
	5
	
	
	

	4
	Heating mantle
	 
	5
	
	
	

	5
	Titration set (pipette, burette, flask)
	 
	100 sets
	
	
	

	6
	Electronic Balance
	Type of Electronic Weighing Machine: Electronic Precision Pan Balance
 Rated Load/ Capacity(kg): 220 gm
 Resolution(gms): 1 mg
 Class type Class-I
 Display: led
 Number of Display: single
 Speed of measurement: 4 second
 Number of scale division: 1000
 Tare provision: Manual
 Power Requirement mains operated battery operated
 Power Supply: Single Phase
 DC Operating voltage in Volts: 6 Volt
 Battery Backup: Yes
 Backup time(hour): 10
 Battery type: Non-rechargeable
 Battery rating: AAA1.5v
 Type of Sensing Element: Load Cell
 Number of load cell/EMFC: 1
 Class of Protection: IP 65
	2
	
	
	

	7
	MAGNETIC STIRRER WITH HOT PLATE
	Number of stirring Positions: 1
 Calibration: Automatic Calibration
 Type of Drive Motor: Motorless magnetic coil type
 Display Option/Output Read out Option: Digital
 Magnetic stirrer is: with a hot plate or some other means for heating the liquid
 Controller type: Electronically controlled and Programmable
 Speed Control Accuracy of set speed (+/-) (RPM): 0
 Maximum Stirring capacity per position: 2000 milliliter
 Ceramic Top Plate Material, Digital Front Panel, Last run memory
 CE certified Product (seller to furnish supporting document to Buyer on demand)
 SPEED
 Speed Mode: Variable Speed
 Minimum Speed Possible (RPM): 50
 Maximum Speed (RPM) of variable speed mode equipment: 1600
 DIMENSIONS
 External Dimension: (Height )200 millimeter
 External Dimension: Width 200 millimeter
 External Dimension: Depth: 50 millimeter
 Body Material: Stainless Steel
 Finish of Body material: Powder coated
 Top plate Finish: Ceramic coated
 STIR BAR
 Stir bar cover material: PTFE QUOTED ALNICO MAGNET
 Stir Bar length: 200 millimeter
 TOP PLATE
 Top plate area shape: Circular
 Circular Top plate diameter: 1000 millimeter
 Top plate Finish: Ceramic coated
	3
	
	
	

	8
	Melting Point Apparatus
	Height (Metric)- 200 mm, Accuracy ± 0.2°C,
 Depth (Metric)- 370 mm,
 Hertz-50 / 60 Hz
 Voltage-100 to 240 ± 10% VAC
 For Use With
 Melting and boiling point capillaries,
 Display Type
 Color, TFT, 320 x 240, 3.5 in.
 Includes
 Calibration set; Melting point tubes (100 pcs); Boiling point tubes (10 pcs); Sample holder
 Temperature Range (Metric)
 10 to 400°C
 Wattage
 150 W
	2 no.
	
	
	

	9
	Borosil bi double distillation plant set.
	 
	2
	
	
	

	10
	UV- chamber
	 
	2
	
	
	

	11
	Ultrasonicator
	 
	1
	
	
	


	S.NO
	 Item
	 Description
	Qty
(No.)
	Amount (A)

	GST/Tax amount (B)
	Total Amount (C=A+B)

	1
	Lab Stool for Chemistry Lab
	Lab Stool of  circular type 30.0 +/- 0.5 cm and made up of 0.1+/- 0.012 cm thk CR Steel. It is welded to the understructure and black powder coated ( DFT 40-60 microns ). UNDERSTRUCTURE ASSEMBLY: The understructure is made of MS tube 2.2 +/- 0.03 cm x 0.16+/- 0.0128 cm thk MS ERW tube. lt is welded ti the MS fabricated circular seat assembly and black powder coated ( DFT 40-60 microns ). The understructure is provided with black PP injection moulded ferrules.
	60
	
	
	

	2
	Chemical storage cabinets (with lock)
	 
	9
	
	
	

	



3
	Notice/Instruction board
	Notice Board with size 4' X 3' Surface Material-woolen felt / fabric in various colours,Core material-9 mm thick soft board,Backing Material-0.62 mm to 0.82mm thick laminate sheet with extra melamine surface mix colour OR 0.16 to 0.25 mm thick ISI mark GP sheet,Aluminium frame-Anodized 5 microns extruded aluminium section designation 63400 as per IS:1285- 2002 - 16 mm thickness
	2
	
	
	

	4
	Fire extinguisher (CO₂ or DCP)
	 
	6
	
	
	

	5
	Gas Pipe Line Set up
	 
	30  no of Burner
	
	
	


Lab Setup/Furniture

Quoted Price: Total Amount (C=A+B)(< Price in Word and Figure>)
Note: - 
· Prices should be quoted in Indian Rupee only and indicated both in figures and words. The amount mentioned in words will prevail. 
· It is bidders’ responsibility to install, commission, test, and go live. Any other cost for accessory or any other sundry items needed for installation would be borne by the Bidder only. 
· All the items’ counts mentioned above is only tentative number, it may exceed or less as per the work.
· The BoQ mentioned in the RFP is for the entire scope of work and duration mentioned in this RFP. Bidders are requested to do site visits to check the feasibility and to ensure achievement of the objective and scope of work of this RFP. 


· <Authorised Signature>		Name:  			Designation





[bookmark: _Toc176091572]ANNEXURE 3

FORMAT FOR DECLARATION BY THE BIDDER FOR NOT BEING BLACKLISTED/ DEBARRED:
(To be executed on a non-judicial stamp paper of appropriate stamp duty 

Date:
To,
Gaya College of Engineering, Gaya  
Bihar

Subject: Submission of proposal in response to the Tender for “____________________________”
Ref: Tender No.:
Dear Sir,
I, authorized representative of___________________, hereby solemnly confirm that the Company _____________________________________is not blacklisted / banned / debarred/ declared ineligible / declared having dissatisfactory performance and not banned by the Government of Bihar/ Any other State Government/ Government of India which includes any Government Department, Public Sector Undertakings of the Government, Statutory Department formed by the Government, Local Bodies in the State, Co-operative Institutions in the State, Universities and Societies formed by the Government for any reason as on last date of submission of the Bid. In the event of any deviation from the factual information/ declaration, Gaya College of Engineering, Gaya reserves the right to reject the Bid or terminate the Contract without any compensation to the Company.
Thanking you.
Yours faithfully,
<Authorized Signatory >
Name:
Designation:
Address:
Telephone & Fax:
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